# Supplementary material

Table S1: Characteristics of mixed sludge (digester feed) from the secondary wastewater treatment facility

| Parameter | Average (std. dev.; n) |
| --- | --- |
| pH | 5.8 (0.2; 14)* |
| TSa (% w/w) | 3.67 (0.3; 18) |
| VSb (% w/w) | 3.26 (0.2; 18) |
| Ammonia (mg/L) | 662 (52; 12) |
| Nitrate (mg/L) | 14.3 (4.5; 12) |
| Nitrite (mg/L) | 0.004 (0.003; 12) |
| Orthophosphate (mg/L) | 251 (23; 12) |
| Alkalinity (mg as CaCO3/L) | 1767 (81; 12) |
| CODc (mg/L) | 57,557 (2233; 12) |
| TVFAd (mg/L) | 2,568 (162; 12) |

aTS: total solids, bVS: volatile solids, cCOD: chemical oxygen demands, dTVFA: total volatile fatty acids. *Data represent mean of replicates (std. dev.: standard deviation, n: number of replicates).

Table S2: Characteristics of anaerobic inoculum used to start up the automated digesters

| Parameter |  | Average |
| --- | --- | --- |
| pH |  | 5.80 (0.2)* |
| TSa (% w/w) |  | 1.80 (0.01) |
| VSb (% w/w) |  | 1.31 (0.01) |
| Ammonia (mg/L) |  | 1605 (16) |
| Orthophosphate (mg/L) |  | 176 (1.2) |
| Alkalinity (mg as CaCO3/L) |  | 5051 (38) |
| CODc (mg/L) |  | 21,946 (480) |
| TVFAd (mg/L) |  | 90 (20) |

aTS: total solids, bVS: volatile solids, cCOD: chemical oxygen demands, dTVFA: total volatile fatty acids as summation of acetic, propionic and butyric acids, *Data represent mean of two duplicate samples (absolute difference between duplicates).

Figure S1: Normalized capillary suction time (CST) values for single-stage and dual-stage digester effluents