Supplementary Materials

Enhanced anaerobic digestion performance and sludge filterability by membrane microaeration for anaerobic membrane bioreactor application

# Fig. S1. Technical route in this study.

(A)

(B)

(C)

# Fig. S2. Schematic diagram of the lab-scale AnMBR prototype with microaeration membrane (A); hollow fiber aeration membrane module (left), schematic diagram of membrane cord (center) and cross-sectional image via scanning electronic microscopy (right) (B); AMPTS fully automated methane potential testing system (C).

(A)

(B)

Fig. S3. Fluorescence excitation-emission-matrix spectra at the initial (a) and end (d) of AD4, at the initial (b) and end (e) of AD5 (b), at the initial (c) and end (f) of AD6 (A); percentage of different SS components (B).

Fig. S4. Relative abundance of genes encoding specific enzymes.

Table S1. Sludge characteristics in the bioreactor at the beginning of this study (A) and chemical reagents used in this study (B).

(A)

| Parameters | Unit | Value (Average ± SD) |
| --- | --- | --- |
| TCOD | g/L | 18.9±3.7 |
| SCOD | g/L | 9.1±0.2 |
| VS | g/L | 18.5±0.9 |
| TS | g/L | 30.9±1.0 |
| pH | - | 7.1±0.1 |
| ORP | mV | -300.7±7.4 |

(B)

| Name | Purity | Specification | Manufacturer |
| --- | --- | --- | --- |
| Starch | AR | 2.5 kg | Macklin Reagent Company, China |
| Na2HPO4 | AR | 500 g | Tianjin Zhiyuan Chemical Reagent Co, China |
| NH4Cl | AR | 500 g | Tianjin Zhiyuan Chemical Reagent Co, China |
| Peptone | AR | 500 g | Guangdong Huankai Microbial Sci. & Tech Co., LTD., China |
| NaHCO3 | AR | 500 g | Tianjin Zhiyuan Chemical Reagent Co, China |
| Phenol | AR | 500 g | Tianjin Damao Chemical Reagent Factory, China |
| H2SO4 | AR | 500 ml | Guangzhou Chemical Reagent Factory, China |
| 2,2-Dihydroxyindane-1,3-dione | AR | 5 g | Tianjin Damao Chemical Reagent Factory, China |
| Coomassie brilliant blue | - | 96 samples | Nanjing Jiancheng BioEngineering Institute, China |